Town of East Greenbush

Capital Improvement Projects

2017

Project Status Report and Meeting Agenda Items

From: H. V. LaBarba, PE

## Consultant to the Authority

## April 15, 2018

## Meeting

I.   PUMP STATION PROJECTS

Hampton Manor Pump Station Upgrade  .    The new pumps and motors were previously installed  by JP Industrial.  During the weeks of April 1 -13 the controls panels and electrical have been installed.  The station is now in operation with new pumps and control panel and new backup generator. .

Actions to be taken:

- Final Payment to JP Industrial in the amount of: $8,350.00 for the motors and pumps and installation and startup..

- Payment of $ 1,232.50 to HV LaBarba & Assoc. for work during the last month period on the pump station projects.

Submitted by:

HVL ___________ April 14, 2018